## SOC CD4
ICAP Standards of Care (SOC) for CD4 Laboratory Services (From xxx-xxx,2011)
| ICAP Standards of Care (SOC) for CD4 Laboratory Services | Suggested Measure of Standard | Numerator | Possible Sources of information | Possible Actions |  |  | For indicators not meeting the standard
|  |  | Denominator |  | Evaluate this month (≤90) | Evaluate as part of next three month work plan (91-94%) | On Target (≥95) | Root cause for not meeting the standard | Action item/ improvement plan & responsible body | Implementation timeline
Result of Quarterly measure of Lab service
1 | Turnaround time
| 1.CD4 tests should be performed within expected turnaround time* | Proportion of CD4 tests performed within expected turnaround time* in last quarter | # of CD4 tests performed within expected turnaround time in last quarter | Sample of 100 charts; lab registers
Total # of CD4 tests performed in last quarter
2 | Laboratory procurement and inventory
| 2. Lab should have adequate supply of kits and reagents needed for CD4 tests | Proportion of work days with CD4 test service interrupted due to stock outs during last quarter | # of days without CD4 service interruption due to stock out of kits or reagents during last quarter | Lab registers; Lab & Clinical staff interviews
Total # of working days during same quarter
3 | Maintenance
| 3. All CD4 lab equipment maintained and repaired in timely fashion | Proportion of work days with any CD4 test service interrupted due to equipment malfunction during a certain time period | # of days without CD4 service interruption due to equipment malfunction | Lab registers; Lab & Clinical staff interviews
Total # of working days during same time period
4 | QA System
| 4. Lab performs daily internal quality controls on CD4 assays | Proportion of CD4 assay days that performed daily control | # of days internal quality controls performed | Lab registers; lab staff interviews
Total # of days CD4 tests performed in last quarter
5 | Sample collection and integrity
| 5. Sample rejection criteria should be used consistently to ensure proper sample collection and handling | Proportion of samples received with required sample integrity for CD4 testing | Total # of proper samples approved for CD4 testing | Lab registers; job aides
Total # of samples received for CD4 testing
6 | Sample collection and requisition form
| 6. All samples should arrive to the lab reception with a completely filled request form | Proportion of samples received with a completely filled request form | # of samples with completely filled requested form | Request forms; Reception Registers; Lab/site registers
Total # of samples received for the previous month reporting period
*expected turnaround time will be defined for the coming quarter in each site